{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["废气排放","废水排放","无组织"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废气排放","index":0,"n_rows":16,"n_cols":8,"rows_kept":16,"merged":[[1,0,3,0],[4,0,6,0],[7,0,14,0]],"flags":["formulas_cached_only"]}
["企业名称","监测点","监测项目","监测日期","实测浓度","折算浓度","单位","是否超标"]
["卡士酸奶（苏州）有限公司","污水站臭气排气筒(DA002)","硫化氢","2023-06-20","<0.0000016","<0.0000016","kg/h","否"]
["卡士酸奶（苏州）有限公司","污水站臭气排气筒(DA002)","氨","2023-06-20","0.0273","0.0273","kg/h","否"]
["卡士酸奶（苏州）有限公司","污水站臭气排气筒(DA002)","臭气浓度","2023-06-20","977","977","无量纲","否"]
["苏州市相润排水管理有限公司","生产车间DA001","臭气浓度","2023-06-15","724","724","无量纲","否"]
["苏州市相润排水管理有限公司","生产车间DA001","氨","2023-06-15","0.0438","0.0438","kg/h","否"]
["苏州市相润排水管理有限公司","生产车间DA001","硫化氢","2023-06-15","<0.0385","<0.0385","kg/h","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","锅炉","氮氧化物","2023-06-13","25","25","mg/m3","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","锅炉","颗粒物","2023-06-13","2.9","2.9","mg/m3","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","锅炉","二氧化硫","2023-06-13","<3","<3","mg/m3","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","餐厨垃圾及地沟油预处理排气筒","硫化氢","2023-06-13","<0.00026682","<0.00026682","kg/h","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","餐厨垃圾及地沟油预处理排气筒","臭气浓度","2023-06-13","354","354","无量纲","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","餐厨垃圾及地沟油预处理排气筒","颗粒物","2023-06-13","2.1","2.1","mg/m3","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","餐厨垃圾及地沟油预处理排气筒","非甲烷总烃","2023-06-13","1.99","1.99","mg/m3","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","餐厨垃圾及地沟油预处理排气筒","氨","2023-06-13","0.0119","0.0119","kg/h","否"]
["苏州市伟丽氨纶有限公司","DA001(DA001)","非甲烷总烃","2023-06-12","0.68","0.68","mg/m3","否"]

{"sheet":"废水排放","index":1,"n_rows":216,"n_cols":7,"rows_kept":216,"merged":[[1,0,9,0],[10,0,32,0],[33,0,50,0],[51,0,72,0],[73,0,90,0],[91,0,108,0],[109,0,128,0],[129,0,146,0],[147,0,156,0],[157,0,173,0],[174,0,196,0],[197,0,215,0]],"flags":["formulas_cached_only"]}
["企业名称","监测点","监测项目","监测日期","排放浓度","单位","是否超标"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","悬浮物","2023-06-20","5","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","化学需氧量","2023-06-20","22","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","氨氮（NH3-N）","2023-06-20","3.84","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","总磷（以P计）","2023-06-20","0.10","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","粪大肠菌群数","2023-06-20","140","MPN/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","五日生化需氧量","2023-06-20","5.2","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","pH值","2023-06-20","7.8","无量纲","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","动植物油","2023-06-20","<0.06","mg/L","否"]
["卡士酸奶（苏州）有限公司","污水排放口(DW001)","总氮","2023-06-20","5.81","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","五日生化需氧量","2023-06-12","3.0","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","pH值","2023-06-12","7.5","无量纲","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","化学需氧量","2023-06-12","14","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总镉","2023-06-12","<0.005","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","氰化物（总氰化合物）","2023-06-12","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铅","2023-06-12","<0.07","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","氨氮（NH3-N）","2023-06-12","0.078","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","烷基汞","2023-06-12","<0.00003","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铬","2023-06-12","<0.03","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总砷","2023-06-12","<0.0003","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","六价铬","2023-06-12","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","阴离子表面活性剂","2023-06-12","<0.05","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","粪大肠菌群数","2023-06-12","280","个/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","色度","2023-06-12","2","倍","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总氮（以N计）","2023-06-12","5.42","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总锌","2023-06-12","<0.009","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总汞","2023-06-12","0.00007","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铜","2023-06-12","<0.04","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总磷（以P计）","2023-06-12","0.08","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","动植物油","2023-06-12","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","石油类","2023-06-12","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","悬浮物","2023-06-12","8","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总镍","2023-06-12","<0.007","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","色度","2023-05-31","<2","倍","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","阴离子表面活性剂","2023-05-31","<0.05","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","悬浮物","2023-05-31","9","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总汞","2023-05-31","<0.00004","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总铅","2023-05-31","0.000329","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","五日生化需氧量","2023-05-31","9.6","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总镉","2023-05-31","<0.00005","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总铬","2023-05-31","0.00408","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","动植物油","2023-05-31","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总磷（以P计）","2023-05-31","0.034","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总氮（以N计）","2023-05-31","4.48","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","总砷","2023-05-31","0.00190","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","pH值","2023-05-31","7.1","无量纲","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","化学需氧量","2023-05-31","30","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","粪大肠菌群数","2023-05-31","<10","MPN/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","石油类","2023-05-31","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","氨氮（NH3-N）","2023-05-31","0.168","mg/L","否"]
["苏州市相润排水管理有限公司澄阳污水处理厂","总排口(DW001)","六价铬","2023-05-31","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","五日生化需氧量","2023-05-31","9.8","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","pH值","2023-05-31","7.5","无量纲","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","化学需氧量","2023-05-31","45","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总镉","2023-05-31","0.000107","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","氰化物（总氰化合物）","2023-05-31","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铅","2023-05-31","0.00616","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","氨氮（NH3-N）","2023-05-31","0.159","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铬","2023-05-31","0.00236","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总砷","2023-05-31","0.00258","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","六价铬","2023-05-31","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","阴离子表面活性剂","2023-05-31","0.053","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","粪大肠菌群数","2023-05-31","<10","个/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","色度","2023-05-31","<2","倍","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总氮（以N计）","2023-05-31","4.99","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总锌","2023-05-31","0.199","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总汞","2023-05-31","<0.00004","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总铜","2023-05-31","0.0158","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总磷（以P计）","2023-05-31","0.018","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","动植物油","2023-05-31","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","石油类","2023-05-31","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","悬浮物","2023-05-31","7","mg/L","否"]
["苏州市相润排水管理有限公司一泓污水处理厂","废水总排口(DW001)","总镍","2023-05-31","0.0318","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","动植物油","2023-05-30","<0.06","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总氮（以N计）","2023-05-30","5.60","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","阴离子表面活性剂","2023-05-30","<0.05","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","粪大肠菌群数","2023-05-30","7100","MPN/L","是"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","五日生化需氧量","2023-05-30","8.9","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总铅","2023-05-30","0.00156","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总磷（以P计）","2023-05-30","0.102","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","pH值","2023-05-30","7.0","无量纲","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","色度","2023-05-30","<2","倍","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","六价铬","2023-05-30","<0.004","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总砷","2023-05-30","0.00203","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","化学需氧量","2023-05-30","28","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","石油类","2023-05-30","<0.06","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","悬浮物","2023-05-30","7","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总镉","2023-05-30","<0.00005","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总汞","2023-05-30","<0.00004","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","总铬","2023-05-30","0.00497","mg/L","否"]
["苏州高铁苏水水务有限公司","高铁新城污水排放口(DW001)","氨氮（NH3-N）","2023-05-30","0.066","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","阴离子表面活性剂","2023-05-29","<0.05","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","铅","2023-05-29","0.00113","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","化学需氧量","2023-05-29","35","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","五日生化需氧量","2023-05-29","9.0","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","氨氮","2023-05-29","0.188","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","动植物油","2023-05-29","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","镉","2023-05-29","0.000306","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","粪大肠菌群","2023-05-29","<10","MPN/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","色度","2023-05-29","<2","倍","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","砷","2023-05-29","0.00325","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","总铬","2023-05-29","0.00272","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","石油类","2023-05-29","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","悬浮物","2023-05-29","7","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","六价铬","2023-05-29","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","汞","2023-05-29","<0.00004","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","总磷","2023-05-29","0.089","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","总氮","2023-05-29","4.35","mg/L","否"]
["苏州市相润排水管理有限公司（漕湖污水处理厂）","尾水排放口(DW001)","pH值","2023-05-29","6.8","无量纲","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总铝","2023-05-29","0.0218","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总磷","2023-05-29","0.059","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","六价铬","2023-05-29","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","悬浮物","2023-05-29","8","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总镉","2023-05-29","0.000094","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总铅","2023-05-29","0.000854","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","氟化物","2023-05-29","0.413","mg/m3","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总汞","2023-05-29","0.000102","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总银","2023-05-29","<0.00004","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总铜","2023-05-29","0.0377","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总氰化物","2023-05-29","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","石油类","2023-05-29","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","氨氮","2023-05-29","0.466","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总氮","2023-05-29","8.67","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","pH值","2023-05-29","7.5","无量纲","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总铬","2023-05-29","0.0036","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总锌","2023-05-29","0.0758","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总铁","2023-05-29","0.316","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","化学需氧量","2023-05-29","34","mg/L","否"]
["苏州市相润排水管理有限公司黄桥分公司","废水排口S1(DW001)","总镍","2023-05-29","0.055","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总铅","2023-05-23","0.0005","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总镉","2023-05-23","0.000093","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总磷","2023-05-23","0.028","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","六价铬","2023-05-23","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","化学需氧量","2023-05-23","22","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总汞","2023-05-23","0.000065","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","五日生化需氧量","2023-05-23","4.8","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总氮","2023-05-23","4.68","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","氨氮","2023-05-23","0.139","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总砷","2023-05-23","0.00122","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","阴离子表面活性剂","2023-05-23","0.05","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","悬浮物","2023-05-23","4","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","粪大肠菌群数","2023-05-23","<10","个/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","石油类","2023-05-23","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","动植物油","2023-05-23","<0.06","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","pH值","2023-05-23","6.8","无量纲","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","总铬","2023-05-23","0.00346","mg/L","否"]
["苏州市相润排水管理有限公司","总排口(DW001)","色度","2023-05-23","<2","倍","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","总锌","2023-05-10","0.901","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","悬浮物","2023-05-10","21","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","氨氮（NH3-N）","2023-05-10","0.100","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","总磷（以P计）","2023-05-10","0.069","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","pH值","2023-05-10","8.3","无量纲","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","石油类","2023-05-10","0.58","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","化学需氧量","2023-05-10","23","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","五日生化需氧量","2023-05-10","9.3","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","总氮（以N计）","2023-05-10","1.85","mg/L","否"]
["苏州扬子江新型材料股份有限公司","DW001（总排口）","阴离子表面活性剂","2023-05-10","<0.05","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","五日生化需氧量","2023-04-18","7.7","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总镉","2023-04-18","<0.005","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","化学需氧量","2023-04-18","31","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总磷（以P计）","2023-04-18","0.117","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","六价铬","2023-04-18","<0.004","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","石油类","2023-04-18","0.25","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总氮（以N计）","2023-04-18","6.32","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","pH值","2023-04-18","7.0","无量纲","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总汞","2023-04-18","<0.00004","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","动植物油","2023-04-18","0.70","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","色度","2023-04-18","<2","倍","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","阴离子表面活性剂","2023-04-18","<0.05","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总铅","2023-04-18","<0.07","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","氨氮（NH3-N）","2023-04-18","0.267","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","粪大肠菌群数","2023-04-18","2100","个/L","是"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","悬浮物","2023-04-18","8","mg/L","否"]
["苏州市相润排水管理有限公司（城区污水处理厂）","总排口(DW001)","总铬","2023-04-18","<0.03","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","色度","2023-04-17","<2","倍","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","石油类","2023-04-17","0.36","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","五日生化需氧量","2023-04-17","9.4","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","粪大肠菌群数","2023-04-17","55","个/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总砷","2023-04-17","<0.2","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总镉","2023-04-17","<0.005","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","动植物油","2023-04-17","0.25","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总磷","2023-04-17","0.053","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","苯胺类","2023-04-17","<0.03","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","pH","2023-04-17","7.2","无量纲","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","六价铬","2023-04-17","<0.004","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","氨氮（NH3-N）","2023-04-17","0.302","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","悬浮物","2023-04-17","7","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","阴离子表面活性剂","2023-04-17","<0.05","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总铬","2023-04-17","<0.03","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总铜","2023-04-17","0.020","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","化学需氧量","2023-04-17","45","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总镍","2023-04-17","0.015","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","铅","2023-04-17","<0.07","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","汞","2023-04-17","<0.00004","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总氮（以N计）","2023-04-17","7.76","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","总锌","2023-04-17","0.144","mg/L","否"]
["苏州市相城区黄埭污水处理有限公司","苏州市相城区黄埭污水处理有限公司入河排污口002(DW002)","硫化物","2023-04-17","0.018","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","色度","2023-04-17","<2","倍","否"]
["苏州市相城区东桥集中污水处理厂","总排口","苯胺类","2023-04-17","0.03","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","六价铬","2023-04-17","<0.004","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","总镉","2023-04-17","<0.005","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","阴离子表面活性剂（LAS）","2023-04-17","<0.05","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","总磷（以P计）","2023-04-17","0.102","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","动植物油","2023-04-17","0.20","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","粪大肠菌群数","2023-04-17","<10","MPN/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","挥发酚","2023-04-17","<0.01","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","总汞","2023-04-17","<0.00004","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","硫化物","2023-04-17","0.014","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","总铅","2023-04-17","<0.07","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","石油类","2023-04-17","0.38","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","pH值","2023-04-17","7.8","无量纲","否"]
["苏州市相城区东桥集中污水处理厂","总排口","化学需氧量","2023-04-17","41","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","五日生化需氧量","2023-04-17","9.0","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","悬浮物","2023-04-17","9","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","总氮（以N计）","2023-04-17","3.71","mg/L","否"]
["苏州市相城区东桥集中污水处理厂","总排口","氨氮（NH3-N）","2023-04-17","0.838","mg/L","否"]

{"sheet":"无组织","index":2,"n_rows":21,"n_cols":7,"rows_kept":21,"merged":[[1,0,16,0],[17,0,20,0]],"flags":["formulas_cached_only"]}
["企业名称","监测点","监测项目","监测日期","排放浓度","单位","是否超标"]
["卡士酸奶（苏州）有限公司","G2下风向","氨","2023-06-20","0.06","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G2下风向","非甲烷总烃","2023-06-20","0.66","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G2下风向","臭气浓度","2023-06-20","13","无量纲","否"]
["卡士酸奶（苏州）有限公司","G2下风向","硫化氢","2023-06-20","<0.00025","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G3下风向","硫化氢","2023-06-20","<0.00025","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G3下风向","非甲烷总烃","2023-06-20","0.67","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G3下风向","臭气浓度","2023-06-20","15","无量纲","否"]
["卡士酸奶（苏州）有限公司","G3下风向","氨","2023-06-20","0.08","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G4下风向","硫化氢","2023-06-20","<0.00025","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G4下风向","非甲烷总烃","2023-06-20","0.69","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G4下风向","臭气浓度","2023-06-20","13","无量纲","否"]
["卡士酸奶（苏州）有限公司","G4下风向","氨","2023-06-20","0.07","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G1上风向","非甲烷总烃","2023-06-20","0.54","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G1上风向","氨","2023-06-20","0.06","mg/m3","否"]
["卡士酸奶（苏州）有限公司","G1上风向","臭气浓度","2023-06-20","11","无量纲","否"]
["卡士酸奶（苏州）有限公司","G1上风向","硫化氢","2023-06-20","<0.00025","mg/m3","否"]
["苏州市伟丽氨纶有限公司","G4下风向","非甲烷总烃","2023-06-12","0.62","mg/m3","否"]
["苏州市伟丽氨纶有限公司","G3下风向","非甲烷总烃","2023-06-12","0.56","mg/m3","否"]
["苏州市伟丽氨纶有限公司","G1上风向","非甲烷总烃","2023-06-12","0.41","mg/m3","否"]
["苏州市伟丽氨纶有限公司","G2下风向","非甲烷总烃","2023-06-12","0.65","mg/m3","否"]